## Executive Summary
CAMPUS CARBON ASSESSMENT REPORT
Apex Institute of Science & Tech — Reporting Year 2025
Metric | Value | Unit | Notes
Gross / Positive Emissions | 886.985 | tCO2e | Total Scope 1 + Scope 2 + Scope 3 operational emissions
Eligible Reductions / Removals | 372.8 | tCO2e | Verified carbon sequestration & avoided emissions
Net Carbon Footprint | 514.185 | tCO2e | Gross Emissions − Eligible Reductions
Scope 1 (Direct) | 147.785 | tCO2e | Stationary fuels, DG, mobile fleet, refrigerants
Scope 2 (Electricity) | 716 | tCO2e | Purchased grid electricity & EV charging
Scope 3 (Indirect) | 23.2 | tCO2e | Commuting, solid waste, water supply & STP
Total Campus Population | 3250 | Occupants | Students, faculty, staff, residents
Gross CO2e per Person | 0.2729 | tCO2e/person | Gross emissions divided by population
Net CO2e per Person | 0.1582 | tCO2e/person | Net footprint divided by population
Total Built-up Area | 80937.12 | Sq. Meters | Standardized built-up area across all buildings
Gross CO2e per m² | 0.010959 | tCO2e/m² | Gross emissions per square meter built-up area
Renewable Energy Share | 31.03 | % | Solar/clean energy generation as % of total power
Waste Diversion Rate | 100 | % | Waste composted/recycled as % of total waste

## Building Performance
Building Code | Building Name | Type | Floors | Built-up Area (m²) | Occupancy | Gross (tCO2e) | Reductions (tCO2e) | Net (tCO2e) | tCO2e/Person | tCO2e/m² | Scope 1 (tCO2e) | Scope 2 (tCO2e) | Scope 3 (tCO2e)
APX-01 | Academic Wing 1 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-02 | Academic Wing 2 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-03 | Academic Wing 3 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-04 | Academic Wing 4 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-05 | Academic Wing 5 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-06 | Academic Wing 6 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-07 | Academic Wing 7 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-08 | Academic Wing 8 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-09 | Academic Wing 9 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
APX-10 | Academic Wing 10 | Academic | 3 | 8093.7 | 325 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Gross Calculations Log
ID | Category | Activity Description | Scope | Quantity | Unit | Emission Factor | Factor Unit | Factor Source | Emissions (tCO2e) | Calculation Method | Data Quality
40 | Electricity | Grid Electricity (State Grid) | Scope 2 | 1000000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 716 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
41 | Stationary Fuel | Diesel Fuel for Backup DG Sets | Scope 1 | 25000 | Liters | 2.687 | kgCO2e/Liter | IPCC Guidelines for National GHG Inventories / DEFRA 2024 | 67.175 | Quantity (Liters) x Diesel EF / 1000 | Bill/invoice
42 | Transport | Campus Fleet Diesel Combustion (Bus) | Scope 1 | 30000 | Liters | 2.687 | kgCO2e/Liter | DEFRA 2024 / IPCC | 80.61 | Fuel Quantity (L) x Mobile Diesel EF / 1000 | Fuel Invoice / Log
43 | Waste | Solid Waste Disposal (Food Waste via Composting) | Scope 3 | 40000 | kg | 0.01 | kgCO2e/kg | DEFRA 2024 / IPCC | 0.4 | Waste Quantity (kg) x Composting EF / 1000 | Measured
44 | Water | Freshwater Consumption (Borewell - Campus Domestic) | Scope 3 | 80000 | kL | 0.285 | kgCO2e/kL | BEE India Agricultural & Deep Well Pumping Benchmark | 22.8 | Water Volume (kL) x Supply EF / 1000 | Flow Meter Reading

## Reductions & Removals
ID | Category | Activity | Contribution Type | Baseline Quantity | Baseline Unit | Project Quantity | Project Unit | Emission Factor | Gross Baseline (tCO2e) | Project Emissions (tCO2e) | Reduction (tCO2e) | Methodology | Status | Assumptions
22 | Solar Plant | Solar Clean Power Generation (Solar PV 300.0 kWp - 450,000 kWh) | Renewable-energy avoided emissions | 450000 | kWh Grid Electricity | 450000 | kWh Solar Generation | 0.716 | 322.2 | 0 | 322.2 | Grid Electricity Displacement (CEA India v19 Benchmark) | Eligible | On-site clean solar PV generation displacing high-carbon grid power.
23 | Gardening / Greenery | Biomass Sequestration by Campus Trees (1,500 mature trees across 29.7 acres) | Carbon sequestration | 0 | tree | 1500 | tree | 22 | 0 | 0 | 33 | FSI Tree Biomass Growth Model & IPCC GPG for LULUCF (22.0 kg CO2/tree/year) | Eligible | Mature native canopy tree carbon uptake validated through ground census.
24 | Waste Diversion | Avoided Landfill Methane via Composting (Food Waste) | Waste-diversion reduction | 40000 | kg Landfilled | 40000 | kg Composting | 0.45 | 18 | 0.4 | 17.6 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 40,000 kg waste from unmanaged dumpsite to controlled on-site Composting.

## Emission Factors Library
ID | Category | Activity | Fuel Type | Unit | Factor | Factor Unit | Scope | Source | Ref Year | Region | Notes
1 | Electricity | Grid Electricity (India National Grid Average) | Grid Mix | kWh | 0.716 | kgCO2e/kWh | Scope 2 | CEA India CO2 Baseline Database v19 (2024) | 2024 | India | User-end weighted average grid emission factor for Indian National Grid.
2 | Electricity | Grid Electricity (US eGRID Average) | Grid Mix | kWh | 0.386 | kgCO2e/kWh | Scope 2 | US EPA eGRID (2024) | 2024 | US | US national average electricity emission factor.
3 | Electricity | Grid Electricity (UK Grid Average) | Grid Mix | kWh | 0.207 | kgCO2e/kWh | Scope 2 | UK DESNZ / DEFRA (2024) | 2024 | UK | UK national transmission & distribution grid average.
4 | Stationary Fuel | Diesel Fuel Combustion (DG Sets / Boilers) | Diesel | Liters | 2.687 | kgCO2e/Liter | Scope 1 | IPCC Guidelines for National GHG Inventories / DEFRA 2024 | 2024 | Global | Stationary diesel generator and thermal combustion emission factor.
5 | Stationary Fuel | LPG Combustion (Kitchens / Laboratories) | LPG | kg | 2.983 | kgCO2e/kg | Scope 1 | IPCC 2006 / DEFRA 2024 | 2024 | Global | Liquefied Petroleum Gas combustion for cooking and lab heating.
6 | Stationary Fuel | Natural Gas Combustion | Natural Gas | m3 | 1.984 | kgCO2e/m3 | Scope 1 | IPCC 2006 Guidelines / DEFRA 2024 | 2024 | Global | Piped Natural Gas (PNG) / standard cubic meter.
7 | Stationary Fuel | Biomass / Firewood Combustion | Biomass | kg | 0.018 | kgCO2e/kg | Scope 1 | IPCC 2006 (CH4 & N2O only; biogenic CO2 reported separately) | 2024 | Global | Biogenic fuel with non-CO2 combustion emissions.
8 | Mobile Fuel | Diesel Vehicle Fleet (Buses, Ambulances, Tractors, Trucks) | Diesel | Liters | 2.687 | kgCO2e/Liter | Scope 1 | DEFRA 2024 / IPCC | 2024 | Global | Direct tailpipe emissions from campus-owned diesel vehicles.
9 | Mobile Fuel | Petrol Vehicle Fleet (Cars, Two-wheelers) | Petrol | Liters | 2.314 | kgCO2e/Liter | Scope 1 | DEFRA 2024 / IPCC | 2024 | Global | Direct tailpipe emissions from campus-owned petrol vehicles.
10 | Mobile Fuel | CNG Fleet Vehicles | CNG | kg | 2.748 | kgCO2e/kg | Scope 1 | DEFRA 2024 / ARAI India | 2024 | India | Compressed Natural Gas vehicular tailpipe emission.
11 | Refrigerant | Refrigerant Loss - R-410A (HVAC / VRF Systems) | R-410A | kg | 2088 | kgCO2e/kg | Scope 1 | IPCC AR5 / Montreal Protocol | 2024 | Global | Global Warming Potential (GWP100) of R-410A refrigerant gas.
12 | Refrigerant | Refrigerant Loss - R-134a (Chillers / Automotive AC) | R-134a | kg | 1430 | kgCO2e/kg | Scope 1 | IPCC AR5 | 2024 | Global | GWP100 of R-134a refrigerant.
13 | Refrigerant | Refrigerant Loss - R-32 (Next-gen Split ACs) | R-32 | kg | 675 | kgCO2e/kg | Scope 1 | IPCC AR5 | 2024 | Global | GWP100 of R-32 refrigerant.
14 | Waste | General Municipal Solid Waste to Landfill | Municipal Waste | kg | 0.45 | kgCO2e/kg | Scope 3 | IPCC Waste Model / DEFRA 2024 | 2024 | Global | Methane generation from mixed municipal waste decomposition in landfill.
15 | Waste | Food & Organic Waste to Landfill (Unmanaged) | Organic Waste | kg | 0.58 | kgCO2e/kg | Scope 3 | IPCC 2006 Waste Model | 2024 | Global | High methane yield from organic waste anaerobic decomposition in dumpsite.
16 | Waste | Organic Waste Composting (Managed Aerobic) | Organic Waste | kg | 0.01 | kgCO2e/kg | Scope 3 | DEFRA 2024 / IPCC | 2024 | Global | Minimal non-CO2 process emissions from aerobic windrow/drum composting.
17 | Waste | Dry Waste Recycling (Paper, Plastic, Metal, Glass) | Recyclables | kg | 0.021 | kgCO2e/kg | Scope 3 | DEFRA 2024 Material Fact Sheet | 2024 | Global | Logistics and handling emissions for closed-loop recycling.
18 | Waste | Biomedical / Hazardous Waste Incineration | Hazardous Waste | kg | 1.12 | kgCO2e/kg | Scope 3 | CPCB Guidelines / DEFRA 2024 | 2024 | India | High-temperature dual chamber incineration emission factor.
19 | Water | Municipal Water Supply & Distribution | Freshwater | kL | 0.344 | kgCO2e/kL | Scope 3 | CPCB India / UK Water Industry Research | 2024 | India | Emissions from water treatment, booster pumping and pipeline distribution.
20 | Water | Borewell Groundwater Pumping | Groundwater | kL | 0.285 | kgCO2e/kL | Scope 3 | BEE India Agricultural & Deep Well Pumping Benchmark | 2024 | India | Submersible pump energy footprint per kiloliter extracted.
21 | Water | Wastewater Treatment (Central STP) | Sewage | kL | 0.708 | kgCO2e/kL | Scope 3 | DEFRA 2024 / CPCB Sewage Treatment Life Cycle | 2024 | India | Biological aeration, sludge handling, and effluent filtration.
22 | Transport | Commuting - Diesel Public / Contract Bus | Diesel | passenger-km | 0.089 | kgCO2e/p-km | Scope 3 | ARAI India / DEFRA 2024 | 2024 | India | Average occupancy commuter bus factor.
23 | Transport | Commuting - Two-Wheeler (Motorcycle / Scooter) | Petrol | passenger-km | 0.045 | kgCO2e/p-km | Scope 3 | ARAI India (2024) | 2024 | India | Typical 125-150cc commuter motorcycle emission intensity.
24 | Transport | Commuting - Personal Petrol Car (Single Occupancy) | Petrol | passenger-km | 0.171 | kgCO2e/p-km | Scope 3 | DEFRA / BEE India (2024) | 2024 | India | Medium sedan/hatchback petrol car commuting factor.
25 | Transport | Commuting - Metro Rail / Suburban Train | Electricity | passenger-km | 0.028 | kgCO2e/p-km | Scope 3 | DMRC / Namma Metro Energy Footprint | 2024 | India | Electric transit rail per passenger-kilometer.
26 | Sequestration | Tree Carbon Sequestration (Mature Tropical / Subtropical) | Biomass Growth | tree/year | 22 | kgCO2/tree/year | Scope 1 | Forest Survey of India (FSI) & IPCC GPG for LULUCF | 2024 | India | Average annual biomass CO2 sequestration for semi-mature trees (e.g. Neem, Peepal, Teak, Rain tree).