## Executive Summary
CAMPUS CARBON ASSESSMENT REPORT
Christ University ? Kengeri Campus — Reporting Year 2025
Metric | Value | Unit | Notes
Gross / Positive Emissions | 2243.4962 | tCO2e | Total Scope 1 + Scope 2 + Scope 3 operational emissions
Eligible Reductions / Removals | 140.745 | tCO2e | Verified carbon sequestration & avoided emissions
Net Carbon Footprint | 2102.7512 | tCO2e | Gross Emissions − Eligible Reductions
Scope 1 (Direct) | 383.4094 | tCO2e | Stationary fuels, DG, mobile fleet, refrigerants
Scope 2 (Electricity) | 1589.3768 | tCO2e | Purchased grid electricity & EV charging
Scope 3 (Indirect) | 270.71 | tCO2e | Commuting, solid waste, water supply & STP
Total Campus Population | 6450 | Occupants | Students, faculty, staff, residents
Gross CO2e per Person | 0.3478 | tCO2e/person | Gross emissions divided by population
Net CO2e per Person | 0.326 | tCO2e/person | Net footprint divided by population
Total Built-up Area | 179000 | Sq. Meters | Standardized built-up area across all buildings
Gross CO2e per m² | 0.012533 | tCO2e/m² | Gross emissions per square meter built-up area
Renewable Energy Share | 35.14 | % | Solar/clean energy generation as % of total power
Waste Diversion Rate | 86.6 | % | Waste composted/recycled as % of total waste

## Building Performance
Building Code | Building Name | Type | Floors | Built-up Area (m²) | Occupancy | Gross (tCO2e) | Reductions (tCO2e) | Net (tCO2e) | tCO2e/Person | tCO2e/m² | Scope 1 (tCO2e) | Scope 2 (tCO2e) | Scope 3 (tCO2e)
ENG-02 | Engineering Block II (CSE & ECE) | Academic | 5 | 16200 | 1400 | 175.42 | 0 | 175.42 | 0.1253 | 0.010828 | 0 | 175.42 | 0
ENG-01 | Engineering Block I (Civil & Mechanical) | Academic | 5 | 14500 | 1200 | 158.9776 | 0 | 158.9776 | 0.1325 | 0.010964 | 8.6176 | 150.36 | 0
MGMT-01 | School of Business & Management | Academic | 4 | 11500 | 900 | 139.748 | 0 | 139.748 | 0.1553 | 0.012152 | 43.088 | 96.66 | 0
HST-03 | Carmel Hall Girls Hostel | Hostel | 6 | 13200 | 750 | 137.4976 | 0 | 137.4976 | 0.1833 | 0.010416 | 8.6176 | 128.88 | 0
HST-01 | St. Kuriakose Boys Hostel | Hostel | 6 | 12500 | 650 | 130.3376 | 0 | 130.3376 | 0.2005 | 0.010427 | 8.6176 | 121.72 | 0
HST-04 | Mother Teresa Girls Hostel | Hostel | 6 | 12800 | 700 | 125.3 | 0 | 125.3 | 0.179 | 0.009789 | 0 | 125.3 | 0
LIB-01 | Central Knowledge & Library Center | Academic | 3 | 7400 | 500 | 114.56 | 0 | 114.56 | 0.2291 | 0.015481 | 0 | 114.56 | 0
HST-02 | Devadan Hall Boys Hostel | Hostel | 6 | 11800 | 600 | 110.98 | 0 | 110.98 | 0.185 | 0.009405 | 0 | 110.98 | 0
RES-01 | Center for Research & Innovation | Academic | 3 | 6200 | 350 | 100.24 | 0 | 100.24 | 0.2864 | 0.016168 | 0 | 100.24 | 0
ARCH-01 | School of Architecture & Planning | Academic | 4 | 9800 | 600 | 82.34 | 0 | 82.34 | 0.1372 | 0.008402 | 0 | 82.34 | 0
QTR-01 | Staff & Faculty Residential Quarters | Residential | 4 | 8200 | 200 | 78.76 | 0 | 78.76 | 0.3938 | 0.009605 | 0 | 78.76 | 0
BIO-01 | Bio-Technology & Innovation Hub | Laboratory | 4 | 9200 | 450 | 75.6225 | 7.92 | 67.7025 | 0.168 | 0.00822 | 7.4575 | 60.86 | 7.305
BIO-02 | Bio-Technology Research Wing | Laboratory | 4 | 9200 | 450 | 75.6225 | 7.92 | 67.7025 | 0.168 | 0.00822 | 7.4575 | 60.86 | 7.305
BIO-02 | Bio-Technology Research Wing | Laboratory | 4 | 9200 | 450 | 75.6225 | 7.92 | 67.7025 | 0.168 | 0.00822 | 7.4575 | 60.86 | 7.305
ARTS-01 | Social Sciences & Humanities Block | Academic | 4 | 8500 | 700 | 68.02 | 0 | 68.02 | 0.0972 | 0.008002 | 0 | 68.02 | 0
AUD-01 | Main Auditorium & Cultural Complex | Academic | 2 | 5800 | 800 | 58.7376 | 0 | 58.7376 | 0.0734 | 0.010127 | 8.6176 | 50.12 | 0
TEST-01 | Test Block | Academic | 3 | 4500 | 300 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Christ University | Main Block | Academic | 4 | 8500 | 500 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## Gross Calculations Log
ID | Category | Activity Description | Scope | Quantity | Unit | Emission Factor | Factor Unit | Factor Source | Emissions (tCO2e) | Calculation Method | Data Quality
64 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 210000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 150.36 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
65 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 245000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 175.42 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
66 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 115000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 82.34 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
67 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 135000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 96.66 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
68 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 95000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 68.02 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
69 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 140000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 100.24 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
70 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 160000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 114.56 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
71 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 70000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 50.12 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
72 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 170000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 121.72 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
73 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 155000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 110.98 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
74 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 180000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 128.88 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
75 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 175000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 125.3 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
76 | Electricity | Grid Electricity (BESCOM (Karnataka Electricity Board)) | Scope 2 | 110000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 78.76 | Quantity (kWh) x Grid EF / 1000 | Bill/invoice
77 | Stationary Fuel | Diesel Fuel for Backup DG Sets | Scope 1 | 42000 | Liters | 2.687 | kgCO2e/Liter | IPCC Guidelines for National GHG Inventories / DEFRA 2024 | 112.854 | Quantity (Liters) x Diesel EF / 1000 | Measured
78 | Electricity | Grid Electricity (State Grid) | Scope 2 | 85000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 60.86 | Quantity (kWh) x Grid EF / 1000 | Meter reading
79 | Electricity | Grid Electricity (State Grid) | Scope 2 | 85000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 60.86 | Quantity (kWh) x Grid EF / 1000 | Meter reading
80 | Electricity | Grid Electricity (State Grid) | Scope 2 | 85000 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 60.86 | Quantity (kWh) x Grid EF / 1000 | Meter reading
81 | Transport | Campus Fleet Diesel Combustion (Campus College Buses (15 units)) | Scope 1 | 55000 | Liters | 2.687 | kgCO2e/Liter | DEFRA 2024 / IPCC | 147.785 | Fuel Quantity (L) x Mobile Diesel EF / 1000 | Measured
82 | Transport | Campus Fleet Diesel Combustion (Utility & Maintenance Fleet (Ambulance, Tempos, Tractors, Car)) | Scope 1 | 8500 | Liters | 2.687 | kgCO2e/Liter | DEFRA 2024 / IPCC | 22.8395 | Fuel Quantity (L) x Mobile Diesel EF / 1000 | Measured
83 | Transport | EV Operational Charging (Campus Buggies EV (2 units)) | Scope 2 | 4800 | kWh | 0.716 | kgCO2e/kWh | CEA India CO2 Baseline Database v19 (2024) | 3.4368 | Charging Electricity (kWh) x Grid EF / 1000 | Meter reading
84 | Transport | Commuting Transport (Two-Wheeler Commute) | Scope 3 | 1250000 | passenger-km | 0.045 | kgCO2e/p-km | ARAI India (2024) | 56.25 | Distance (p-km) x Commuter EF / 1000 | Estimated
85 | Transport | Commuting Transport (Metro / Public Bus Commute) | Scope 3 | 2100000 | passenger-km | 0.028 | kgCO2e/p-km | DMRC / Namma Metro Energy Footprint | 58.8 | Distance (p-km) x Commuter EF / 1000 | Estimated
86 | Waste | Solid Waste Disposal (Food & Organic Waste via Composting) | Scope 3 | 82000 | kg | 0.01 | kgCO2e/kg | DEFRA 2024 / IPCC | 0.82 | Waste Quantity (kg) x Composting EF / 1000 | Measured
87 | Waste | Solid Waste Disposal (Dry Recyclables (Paper, Plastic, Metal) via Recycling) | Scope 3 | 45000 | kg | 0.021 | kgCO2e/kg | DEFRA 2024 Material Fact Sheet | 0.945 | Waste Quantity (kg) x Recycling EF / 1000 | Measured
88 | Waste | Solid Waste Disposal (General Residual Waste via Landfill) | Scope 3 | 28000 | kg | 0.45 | kgCO2e/kg | IPCC Waste Model / DEFRA 2024 | 12.6 | Waste Quantity (kg) x Landfill EF / 1000 | Measured
89 | Waste | Solid Waste Disposal (Food waste via Composting) | Scope 3 | 18000 | kg | 0.01 | kgCO2e/kg | DEFRA 2024 / IPCC | 0.18 | Waste Quantity (kg) x Composting EF / 1000 | Measured
90 | Waste | Solid Waste Disposal (Food waste via Composting) | Scope 3 | 18000 | kg | 0.01 | kgCO2e/kg | DEFRA 2024 / IPCC | 0.18 | Waste Quantity (kg) x Composting EF / 1000 | Measured
91 | Waste | Solid Waste Disposal (Food waste via Composting) | Scope 3 | 18000 | kg | 0.01 | kgCO2e/kg | DEFRA 2024 / IPCC | 0.18 | Waste Quantity (kg) x Composting EF / 1000 | Measured
92 | Water | Freshwater Consumption (Borewell - Domestic & Hostels) | Scope 3 | 145000 | kL | 0.285 | kgCO2e/kL | BEE India Agricultural & Deep Well Pumping Benchmark | 41.325 | Water Volume (kL) x Supply EF / 1000 | Meter reading
93 | Water | Freshwater Consumption (Rainwater - Recharge & Non-potable) | Scope 3 | 35000 | kL | 0.005 | kgCO2e/kL | Rainwater Harvesting Low Energy | 0.175 | Water Volume (kL) x Supply EF / 1000 | Estimated
94 | Water | Freshwater Consumption (Borewell - Domestic & Labs) | Scope 3 | 25000 | kL | 0.285 | kgCO2e/kL | BEE India Agricultural & Deep Well Pumping Benchmark | 7.125 | Water Volume (kL) x Supply EF / 1000 | Meter reading
95 | Water | Freshwater Consumption (Borewell - Domestic & Labs) | Scope 3 | 25000 | kL | 0.285 | kgCO2e/kL | BEE India Agricultural & Deep Well Pumping Benchmark | 7.125 | Water Volume (kL) x Supply EF / 1000 | Meter reading
96 | Water | Freshwater Consumption (Borewell - Domestic & Labs) | Scope 3 | 25000 | kL | 0.285 | kgCO2e/kL | BEE India Agricultural & Deep Well Pumping Benchmark | 7.125 | Water Volume (kL) x Supply EF / 1000 | Meter reading
97 | Water | Wastewater Biological Treatment (Kengeri Campus Central SBR STP - STP) | Scope 3 | 110000 | kL | 0.708 | kgCO2e/kL | DEFRA 2024 / CPCB Sewage Treatment Life Cycle | 77.88 | Treated Sewage (kL) x STP EF / 1000 | Measured
98 | Stationary Fuel | Canteen Cooking Fuel (Central Cafeteria LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
99 | Stationary Fuel | Canteen Cooking Fuel (North Canteen LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
100 | Stationary Fuel | Canteen Cooking Fuel (Engineering Food Court LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
101 | Stationary Fuel | Canteen Cooking Fuel (Architecture Lounge LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
102 | Stationary Fuel | Canteen Cooking Fuel (Hostel Mess 1 (Devadan) LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
103 | Stationary Fuel | Canteen Cooking Fuel (Hostel Mess 2 (Carmel) LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
104 | Stationary Fuel | Canteen Cooking Fuel (Gourmet Corner LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
105 | Stationary Fuel | Canteen Cooking Fuel (Juice Lounge LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
106 | Stationary Fuel | Canteen Cooking Fuel (Faculty Dining Hall LPG) | Scope 1 | 2888.9 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 8.6176 | LPG (kg) x Factor / 1000 | Bill/invoice
107 | Stationary Fuel | Canteen Cooking Fuel (Innovation Food Court LPG) | Scope 1 | 2500 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 7.4575 | LPG (kg) x Factor / 1000 | Bill/invoice
108 | Stationary Fuel | Canteen Cooking Fuel (Innovation Food Court LPG) | Scope 1 | 2500 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 7.4575 | LPG (kg) x Factor / 1000 | Bill/invoice
109 | Stationary Fuel | Canteen Cooking Fuel (Innovation Food Court LPG) | Scope 1 | 2500 | kg | 2.983 | kgCO2e/kg | IPCC 2006 / DEFRA 2024 | 7.4575 | LPG (kg) x Factor / 1000 | Bill/invoice

## Reductions & Removals
ID | Category | Activity | Contribution Type | Baseline Quantity | Baseline Unit | Project Quantity | Project Unit | Emission Factor | Gross Baseline (tCO2e) | Project Emissions (tCO2e) | Reduction (tCO2e) | Methodology | Status | Assumptions
19 | Greenery | Biomass Sequestration by Campus Trees (2800 mature trees across 45.0 acres) | Carbon sequestration | 0 | tree | 2800 | tree | 22 | 0 | 0 | 61.6 | FSI Tree Biomass Growth Model & IPCC GPG for LULUCF | Eligible | Assuming average 22.0 kg CO2/tree/year for mature native evergreen and deciduous species on campus.
20 | EV Transition | EV Fleet Operation Savings vs Baseline ICE (Campus Buggies EV (2 units)) | EV transportation reduction | 1120 | Liters Diesel | 4800 | kWh Electricity | 2.687 | 3.0094 | 3.4368 | 0 | Baseline ICE Displacement (Fuel equivalent vs EV grid electricity) | Eligible | Baseline assumes equivalent diesel vehicle at 12.5 km/L over 14000 km compared against actual EV charging electricity (4800 kWh).
21 | Waste Diversion | Avoided Landfill Methane via Composting (Food & Organic Waste) | Waste-diversion reduction | 82000 | kg Landfilled | 82000 | kg Composting | 0.45 | 36.9 | 0.82 | 36.08 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 82000 kg waste from unmanaged municipal dumpsite to controlled on-site Composting.
22 | Waste Diversion | Avoided Landfill Methane via Recycling (Dry Recyclables (Paper, Plastic, Metal)) | Waste-diversion reduction | 45000 | kg Landfilled | 45000 | kg Recycling | 0.45 | 20.25 | 0.945 | 19.305 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 45000 kg waste from unmanaged municipal dumpsite to controlled on-site Recycling.
23 | Waste Diversion | Avoided Landfill Methane via Composting (Food waste) | Waste-diversion reduction | 18000 | kg Landfilled | 18000 | kg Composting | 0.45 | 8.1 | 0.18 | 7.92 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 18000 kg waste from unmanaged municipal dumpsite to controlled on-site Composting.
24 | Waste Diversion | Avoided Landfill Methane via Composting (Food waste) | Waste-diversion reduction | 18000 | kg Landfilled | 18000 | kg Composting | 0.45 | 8.1 | 0.18 | 7.92 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 18000 kg waste from unmanaged municipal dumpsite to controlled on-site Composting.
25 | Waste Diversion | Avoided Landfill Methane via Composting (Food waste) | Waste-diversion reduction | 18000 | kg Landfilled | 18000 | kg Composting | 0.45 | 8.1 | 0.18 | 7.92 | Avoided Landfill Methane Generation (IPCC Tier 1 / DEFRA) | Eligible | Diversion of 18000 kg waste from unmanaged municipal dumpsite to controlled on-site Composting.

## Emission Factors Library
ID | Category | Activity | Fuel Type | Unit | Factor | Factor Unit | Scope | Source | Ref Year | Region | Notes
1 | Electricity | Grid Electricity (India National Grid Average) | Grid Mix | kWh | 0.716 | kgCO2e/kWh | Scope 2 | CEA India CO2 Baseline Database v19 (2024) | 2024 | India | User-end weighted average grid emission factor for Indian National Grid.
2 | Electricity | Grid Electricity (US eGRID Average) | Grid Mix | kWh | 0.386 | kgCO2e/kWh | Scope 2 | US EPA eGRID (2024) | 2024 | US | US national average electricity emission factor.
3 | Electricity | Grid Electricity (UK Grid Average) | Grid Mix | kWh | 0.207 | kgCO2e/kWh | Scope 2 | UK DESNZ / DEFRA (2024) | 2024 | UK | UK national transmission & distribution grid average.
4 | Stationary Fuel | Diesel Fuel Combustion (DG Sets / Boilers) | Diesel | Liters | 2.687 | kgCO2e/Liter | Scope 1 | IPCC Guidelines for National GHG Inventories / DEFRA 2024 | 2024 | Global | Stationary diesel generator and thermal combustion emission factor.
5 | Stationary Fuel | LPG Combustion (Kitchens / Laboratories) | LPG | kg | 2.983 | kgCO2e/kg | Scope 1 | IPCC 2006 / DEFRA 2024 | 2024 | Global | Liquefied Petroleum Gas combustion for cooking and lab heating.
6 | Stationary Fuel | Natural Gas Combustion | Natural Gas | m3 | 1.984 | kgCO2e/m3 | Scope 1 | IPCC 2006 Guidelines / DEFRA 2024 | 2024 | Global | Piped Natural Gas (PNG) / standard cubic meter.
7 | Stationary Fuel | Biomass / Firewood Combustion | Biomass | kg | 0.018 | kgCO2e/kg | Scope 1 | IPCC 2006 (CH4 & N2O only; biogenic CO2 reported separately) | 2024 | Global | Biogenic fuel with non-CO2 combustion emissions.
8 | Mobile Fuel | Diesel Vehicle Fleet (Buses, Ambulances, Tractors, Trucks) | Diesel | Liters | 2.687 | kgCO2e/Liter | Scope 1 | DEFRA 2024 / IPCC | 2024 | Global | Direct tailpipe emissions from campus-owned diesel vehicles.
9 | Mobile Fuel | Petrol Vehicle Fleet (Cars, Two-wheelers) | Petrol | Liters | 2.314 | kgCO2e/Liter | Scope 1 | DEFRA 2024 / IPCC | 2024 | Global | Direct tailpipe emissions from campus-owned petrol vehicles.
10 | Mobile Fuel | CNG Fleet Vehicles | CNG | kg | 2.748 | kgCO2e/kg | Scope 1 | DEFRA 2024 / ARAI India | 2024 | India | Compressed Natural Gas vehicular tailpipe emission.
11 | Refrigerant | Refrigerant Loss - R-410A (HVAC / VRF Systems) | R-410A | kg | 2088 | kgCO2e/kg | Scope 1 | IPCC AR5 / Montreal Protocol | 2024 | Global | Global Warming Potential (GWP100) of R-410A refrigerant gas.
12 | Refrigerant | Refrigerant Loss - R-134a (Chillers / Automotive AC) | R-134a | kg | 1430 | kgCO2e/kg | Scope 1 | IPCC AR5 | 2024 | Global | GWP100 of R-134a refrigerant.
13 | Refrigerant | Refrigerant Loss - R-32 (Next-gen Split ACs) | R-32 | kg | 675 | kgCO2e/kg | Scope 1 | IPCC AR5 | 2024 | Global | GWP100 of R-32 refrigerant.
14 | Waste | General Municipal Solid Waste to Landfill | Municipal Waste | kg | 0.45 | kgCO2e/kg | Scope 3 | IPCC Waste Model / DEFRA 2024 | 2024 | Global | Methane generation from mixed municipal waste decomposition in landfill.
15 | Waste | Food & Organic Waste to Landfill (Unmanaged) | Organic Waste | kg | 0.58 | kgCO2e/kg | Scope 3 | IPCC 2006 Waste Model | 2024 | Global | High methane yield from organic waste anaerobic decomposition in dumpsite.
16 | Waste | Organic Waste Composting (Managed Aerobic) | Organic Waste | kg | 0.01 | kgCO2e/kg | Scope 3 | DEFRA 2024 / IPCC | 2024 | Global | Minimal non-CO2 process emissions from aerobic windrow/drum composting.
17 | Waste | Dry Waste Recycling (Paper, Plastic, Metal, Glass) | Recyclables | kg | 0.021 | kgCO2e/kg | Scope 3 | DEFRA 2024 Material Fact Sheet | 2024 | Global | Logistics and handling emissions for closed-loop recycling.
18 | Waste | Biomedical / Hazardous Waste Incineration | Hazardous Waste | kg | 1.12 | kgCO2e/kg | Scope 3 | CPCB Guidelines / DEFRA 2024 | 2024 | India | High-temperature dual chamber incineration emission factor.
19 | Water | Municipal Water Supply & Distribution | Freshwater | kL | 0.344 | kgCO2e/kL | Scope 3 | CPCB India / UK Water Industry Research | 2024 | India | Emissions from water treatment, booster pumping and pipeline distribution.
20 | Water | Borewell Groundwater Pumping | Groundwater | kL | 0.285 | kgCO2e/kL | Scope 3 | BEE India Agricultural & Deep Well Pumping Benchmark | 2024 | India | Submersible pump energy footprint per kiloliter extracted.
21 | Water | Wastewater Treatment (Central STP) | Sewage | kL | 0.708 | kgCO2e/kL | Scope 3 | DEFRA 2024 / CPCB Sewage Treatment Life Cycle | 2024 | India | Biological aeration, sludge handling, and effluent filtration.
22 | Transport | Commuting - Diesel Public / Contract Bus | Diesel | passenger-km | 0.089 | kgCO2e/p-km | Scope 3 | ARAI India / DEFRA 2024 | 2024 | India | Average occupancy commuter bus factor.
23 | Transport | Commuting - Two-Wheeler (Motorcycle / Scooter) | Petrol | passenger-km | 0.045 | kgCO2e/p-km | Scope 3 | ARAI India (2024) | 2024 | India | Typical 125-150cc commuter motorcycle emission intensity.
24 | Transport | Commuting - Personal Petrol Car (Single Occupancy) | Petrol | passenger-km | 0.171 | kgCO2e/p-km | Scope 3 | DEFRA / BEE India (2024) | 2024 | India | Medium sedan/hatchback petrol car commuting factor.
25 | Transport | Commuting - Metro Rail / Suburban Train | Electricity | passenger-km | 0.028 | kgCO2e/p-km | Scope 3 | DMRC / Namma Metro Energy Footprint | 2024 | India | Electric transit rail per passenger-kilometer.
26 | Sequestration | Tree Carbon Sequestration (Mature Tropical / Subtropical) | Biomass Growth | tree/year | 22 | kgCO2/tree/year | Scope 1 | Forest Survey of India (FSI) & IPCC GPG for LULUCF | 2024 | India | Average annual biomass CO2 sequestration for semi-mature trees (e.g. Neem, Peepal, Teak, Rain tree).